WAMITAB Level 2 Certificate in Property, Caretaking and Facilities Services (QCF)

Handbook

This page is intentionally blank

Contents

Qualification Structure	4

Qualification Summary	5

Progression	5

Assessment Guidance	5

Glossary of Verbs and Qualitative Statements	6

Standards and Assessment Guidance	8

Reduce risks to health and safety in the workplace	8

Promote and maintain service delivery	10

Contribute to the effectiveness and efficiency of premises and facilities	12

Support the work of a team and develop yourself	15

Develop customer relationships	17

Control the use of resources in a Property, Caretaking & Facilities Services environment	19

Maintain grounds of premises and facilities	21

Maintain site security and safety	23

Control the use of premises and facilities	25

Work safely at heights	27

Monitor and maintain electrical and plumbing services	29

Carry out maintenance and minor repairs	31

Operate plant to maintain the quality of pool water	33

Deal with routine waste	37

Deal with non-routine waste	40

Deep clean equipment in premises and facilities	43

# Qualification Structure

Candidates must achieve 11 credits from the Mandatory Units group plus 9 credits from the Optional Units group.

Mandatory Units

Candidates must achieve 11 credits from this group.

- Reduce risks to health and safety in the workplace – C2.01

- Promote and maintain service delivery – PC02

- Contribute to the effectiveness and efficiency of premises and facilities – PC03

Optional Units

Candidates must achieve at least 9 credits from this group.

- Support the work of a team and develop yourself – PC04

- Develop customer relationships – PC05

- Control the use of resources in a Property and Caretaking environment – PC06

- Maintain grounds of premises and facilities – PC07

- Maintain site security and safety – PC08

- Control the use of premises and facilities – PC09

- Work safely at heights – C2.20

- Monitor and maintain electrical and plumbing services – PC11

- Carry out maintenance and minor repairs – C2.17

- Operate plant to maintain the quality of pool water – SAPC13

- Deal with routine waste – C2.07

- Deal with non-routine waste – C2.16

- Deep clean equipment in premises and facilities – PC16

# Qualification Summary

## Progression

This qualification leads on to the Level 3 Certificate in Property, Caretaking and Facilities Services, Level 3 Certificate in Facilities Management Practice and various WAMITAB Waste qualifications at Level 2 and Level 3.

## Assessment Guidance

The primary source of evidence must be observation in the workplace by an assessor. It is recommended that assessment is holistic where possible. This is referencing the evidence across all the units which it fits. However, other forms of evidence may be used in exceptional instances and these are set out in the principles of assessment and are as follows:

- Health and safety considerations

- Activities that would cause serious inconvenience or loss to an employer if there was an undue delay in their being carried out

- Infrequently occurring activities

- Equality of access

Suggested evidence types for the headings are as follows:

Observation: direct observation or witness testimony where direct observation is not possible.

Question and Answer: candidate statements, verbal questioning, professional discussion, written questions, product evidence supported by questioning.

Simulation/Realistic working environment: should be used as a last resort where allowed.

# Glossary of Verbs and Qualitative Statements

Explain:  show an understanding of the content/process mentioned.  Include what it is, how it works, what it looks like, what it does, how it happens, why it happens, relevant reasons.  The answer should make it plain or comprehensible.

Describe: provide a vivid picture of what it is.  Use of imagery, adjectives and adverbs make it vivid and more understandable.  Describe may also convey an idea and impart facts.

Evaluate/Justify:  learner must look at whatever the required content/process, etc is and suggest other the relevance/significance/ possible outcomes/results/ possibilities.  It is the process of exploring, checking and suggesting a likely outcome with reasons

Analyse: look at something/a process/etc using given classifications/principles to gain a further understanding

Demonstrate: a doing verb which requires the learner to show he can actually do whatever the AC requires.  The learner will have to provide evidence of him/her actually doing the requirements of the AC/task.  It is about application of knowledge and skills rather than just talking about them.  The evidence for this can be the learner discussing the task with an assessor and then showing that he has done it by nature of documentation, video, etc.  It is not enough to actually just write about it unless the task requires such evidence as the production of a balance sheet, health and safety guidance, etc

List:  produce a number of relevant items which apply to the question.  Further description is not required.

Identify:  for most ACs this requires the learner to list and describe what is required or relevant to produce a required outcome or requires the learner to make choices to achieve a particular aspect of their job.  At levels 4, 5 and 6 this would require the learner to say what is available, make the choice and then to explain or justify why the choice was made.

Develop:  Build a process or activity or understanding either from scratch or forward from the existing product into something workable.

Manage:  after a development process ensure that the product/process etc works using relevant management techniques.  This is very much a “doing” activity.

Apply:  put something into action – a “doing” task which requires “real” evidence from a workplace scenario.

Implement: A “doing” task. After a development process, ensure that the product/process is actually employed and/or used by self and others during work activities.

Differentiate: look at the characteristics of an item or situation and explain the differences.

Distinguish: look at the characteristics of an item or activity and explain the difference. Use this evaluation to pick an appropriate item/activity in the context of the requirements of the assessment criteria.

Compare: look at the characteristics of an item or activity and note the similarities and differences. This is more often used at level 1 and 2.

Critically Compare: look at the characteristics of an item or situation, note the similarities and differences and their respective positive and negative aspects. In some cases, the can include the use of the comparison in context as the basis for decision making. This is generally used at level 3 and above.

Recognise: be aware of, familiar with and able to identify an activity or product.

Terms often used to provide a qualitative benchmark for assessment evidence

Appropriate – provide evidence which is specific to the assessment criteria and relevant to the operation.

Suitable – Due consideration has been given to the context of the site/waste type/operation/safety regulations in the formulation of the response/evidence.

Compliant/compliance – Evidence/response meets clearly defined operational and/or regulatory guidance in relation to the work activity.

Constructive – Possibilities for positive improvement have been considered, perhaps with examples of suggested improvements and the positive/negative aspects of the work activity.

Proper – that which would be expected based on the regulatory/operational/procedural guidelines for the work activity.

# Standards and Assessment Guidance

## Reduce risks to health and safety in the workplace

| Level: 2 |  |
| --- | --- |
| Credit Value: 3 |  |
| Learning Outcome | Assessment Criteria |
| 1. Know about their organisation’s health and safety procedures | 1.1 Describe their responsibilities and legal duties for health and safety in the workplace |
|  | 1.2 Identify responsibilities and legal duties for health and safety specific to their own job role |
|  | 1.3 Name and locate the person responsible for health and safety in their area of work |
|  | 1.4 Describe where and when to get additional health and safety assistance |
|  | 1.5 Give reasons why it is important to follow manufacturer’s instructions for the safe use of equipment, materials and products |
| 2. Know how to identify the hazards in the workplace | 2.1 Define the term ‘hazard’ |
|  | 2.2 Give examples of hazards which could exist in the workplace and the safe working practices which should be followed and identify those specific to their own job role |
|  | 2.3 Give reasons why it is important to remain alert to the presence of hazards in the whole workplace |
|  | 2.4 Describe why personal presentation and behavior is important in maintaining health and safety in the workplace |
| 3. Know how to evaluate risks in the workplace | 3.1 Define the term ‘risk’ |
|  | 3.2 Give reasons why they should deal with or report risks |
|  | 3.3 Describe procedures for reporting risks which they are unable to deal with |
| (Learning Outcome 3 continued…/) | 3.4 Describe the risks to the environment which may be present in the workplace and your own job |
| 4. Be able to identify the hazards and risks in the workplace | 4.1 Select the workplace instructions relevant to the job |
|  | 4.2 Identify aspects of the workplace which could pose a danger to themselves or others |
|  | 4.3 Give examples of working practices in the job which could pose a danger to people in the workplace |
|  | 4.4 Assess which aspects of the workplace and working practices pose the highest risk and report them to the relevant person |
|  | 4.5 Deal with hazards in accordance with instructions and legal requirements |
| 5. Be able to reduce the risks to health and safety in the workplace | 5.1 Perform duties in accordance with workplace instructions, manufacturer’s instructions and legal requirements |
|  | 5.2 Use equipment materials and products safely and in accordance with instructions |
|  | 5.3 Use relevant equipment to control risks to health and safety |
|  | 5.4 Make suggestions on how to reduce risks to health and safety in the workplace to the relevant person |
|  | 5.5 Describe any differences between workplace instructions and manufacturer’s instructions and report these to the relevant person |
|  | 5.6 Describe how your personal presentation and behavior at work could cause risks to the health and safety of him/her self and others |

## Promote and maintain service delivery

| Level: 2 |  |
| --- | --- |
| Credit Value: 4 |  |
| Learning Outcome | Assessment Criteria |
| 1. Know how to present a positive image of the organisation to customers and others | 1.1 Explain the organisation’s standards of appearance, behaviour and personal hygiene |
|  | 1.2 Identify own role in the organisation’s mission and objectives |
|  | 1.3 Make sure appearance, behaviour and personal hygiene meet organisation standards at all times |
| 2. Be able to follow working practices | 2.1 Explain the importance of using personal protective equipment |
|  | 2.2 Follow workplace policies, suppliers’ and manufacturers’ instructions for the safe use of equipment, materials and products |
|  | 2.3 Explain the importance of keeping materials safe and secure |
|  | 2.4 Explain the importance of keeping to work schedules and specifications and checking the quality of work |
|  | 2.5 Describe the emergency procedures for the workplace |
|  | 2.6 Describe procedures for dealing with problems outside own limits of competence and responsibility |
| 3. Carry out work | 3.1 Use personal protective equipment, materials and work methods suitable for the work to be done |
|  | 3.2 Carry out work to work schedules |
|  | 3.3 Handle problems arising from own work |
|  | 3.4 Report to appropriate person/s problems outside limits of own competence and responsibility |
|  | 3.5 Make sure the quality of work meets organisational standards |
|  | 3.6 Return equipment and materials to the appropriate area |
|  | 3.7 Make recommendations to line manager on opportunities for improvements of services |
| 4. Handle information appropriately | 4.1 Pass information that could be useful for the organisation to the appropriate person |
|  | 4.2 Record information accurately, in a way that is easy for others to understand |
|  | 4.3 Describe the procedures for storing information safely and in good condition |
|  | 4.4 Record information accurately in a way that is suitable for other’s needs |
|  | 4.5 Respond promptly to information from others |
|  | 4.6 Store information in good condition and in the appropriate place |
|  | 4.7 Make sure information is only available to authorised persons |
| 5. Be able to communicate with others | 5.1 Identify where there is a need for other services |
|  | 5.2 Respond politely to feedback |
|  | 5.3 Communicate confidently and in a way which encourages others’ co-operation |
|  | 5.4 Provide information that is accurate and up to date, in a way which is suitable for those receiving it |

## Contribute to the effectiveness and efficiency of premises and facilities

| Level: 2 |  |
| --- | --- |
| Credit Value: 4 |  |
| Learning Outcome | Assessment Criteria |
| 1. Know how to carry out inspections of the premises and facilities | 1.1 Explain how to inspect the condition of the premises and facilities and check for potential improvements in accordance with given instructions |
|  | 1.2 Explain why it is important to report any problems that might affect the safety and use of the premises and facilities |
|  | 1.3 Describe how to identify significant changes in the use of the premises and facilities and the possible reasons for these changes |
|  | 1.4 Explain the importance of keeping appropriate records and passing them to the designated person |
|  | 1.5 Explain the importance of following written instructions when operating systems |
|  | 1.6 Describe the required levels of system performance and situations which may change them |
|  | 1.7 Explain the importance of using safe working practices at all times |
| 2. Carry out inspections of the premises and facilities according to instructions | 2.1 Inspect the condition of the premises and facilities in accordance with given instructions, |
|  | 2.2 Promptly report any problems/safety issues to the appropriate person |
|  | 2.3 Identify where there is a need for reactive maintenance and the appropriate action to be taken within limits of own competence and responsibility |
|  | 2.4 Identify any significant changes in the use of the premises and facilities and the possible reasons for these changes |
|  | 2.5 Keep accurate records of the outcomes of monitoring, passing them on to the appropriate person |
|  | 2.6 Seek opportunities for improving the condition of premises and facilities |
|  | 2.7 Make suggestions, to line manager on the basis of identified opportunities |
| 3. Identify situations in which repair or improvement is necessary | 3.1 Describe the types of situation which require maintenance and repair, when to deal with these and when to report them to others |
|  | 3.2 State the limits of own competence and responsibility regarding maintenance and repairs |
|  | 3.3 Explain why it is important to support suggestions made with valid reasons |
| 4. Know how to monitor the use of facilities and utilities | 4.1 State the importance of monitoring the use of facilities at the intervals prescribed by the organisation |
|  | 4.2 State how to suggest improvements in the use of facilities, and to whom these suggestions should be passed |
|  | 4.3 State how to monitor the use of facilities, and how to record all the necessary information |
|  | 4.4 Describe how to conserve utilities, and the importance of encouraging others to do so |
| 5. Monitor the use of the use of facilities and utilities at intervals agreed with the organisation | 5.1 Monitor the use of facilities at specified intervals |
|  | 5.2 Make appropriate suggestions to line manager regarding possible improvements in the use of facilities |
|  | 5.3 Take appropriate action to conserve utilities within the limits of own competence and responsibility |
|  | 5.4 Keep accurate records regarding the use of facilities and pass them on to the appropriate person |
| 6. Know how to monitor and make basic adjustments to building systems | 6.1 State how to monitor temperature and system programme times at appropriate intervals |
|  | 6.2 Describe how to make basic adjustments to maintain the required level of system performance |
|  | 6.3 State the typical faults that could occur in heating systems |
|  | 6.4 State situations where: • faults should be reported • faults should be dealt with within limits of own competence and responsibility • repairs should be reported |
|  | 6.5 Explain the importance of completing all the necessary records |
| 7. Monitor and make basic adjustments to systems in accordance with given instructions | 7.1 Monitor temperature and system programme times accurately and at appropriate intervals, using safe working practices |
|  | 7.2 Where appropriate, and within the limits of own competence and responsibility, maintain the required level of system performance |
|  | 7.3 Complete all records promptly and accurately |

## Support the work of a team and develop yourself

| Level: 2 |  |
| --- | --- |
| Credit Value: 3 |  |
| Learning Outcome | Assessment Criteria |
| 1. Understand the importance of effective working relationships | 1.1 Explain the importance of teamwork to self, colleagues and the organisation |
|  | 1.2 State the types of information that other staff may need, and why it is important to deal with requests promptly |
|  | 1.3 Give examples of the types of help you may need from other staff and why it is important to make such requests promptly |
|  | 1.4 Explain why sharing workloads helps the team achieve better results |
|  | 1.5 State the types of disagreements which may occur in the workplace and why they should not be allowed to harm the work of the team |
|  | 1.6 Give examples of the types of disagreements that cannot be resolved should be reported to a line manager |
| 2. Maintain and develop relationships with colleagues | 2.1 Deal with requests from others promptly |
|  | 2.2 Ask for help from colleagues when needed |
|  | 2.3 Agree with co-workers how to share workloads in a way which enables the team to work more effectively |
|  | 2.4 Handle disagreements with colleagues in a non-confrontational manner |
|  | 2.5 Report to a line manager any disagreements which cannot be resolved |
| 3. Understand how to assist other staff with tasks they may not be familiar with | 3.1 State the importance of making new staff feel welcome |
|  | 3.2 Describe the basic work tasks and procedures applicable to the workplace, and how explain these to a new staff member |
|  | 3.3 State the limits of own competence and responsibility for helping and supporting other staff |
|  | 3.4 Give examples of what makes a constructive contribution to a work-related discussion and why it is important to make them where appropriate |
| 4. Assist other staff and new colleagues with work-related tasks | 4.1 Welcome new staff to the workplace |
|  | 4.2 Explain to other team members the basic work routines and procedures of the workplace |
|  | 4.3 Provide help to other staff within the limits of own competence and responsibility |
|  | 4.4 Provide help to other staff within the limits of own competence and responsibility |
|  | 4.5 Make constructive contributions to work-related discussions |
| 5. Be aware of the importance of self-development in the workplace | 5.1 Explain the importance of self-development |
|  | 5.2 Explain the importance of asking for feedback on performance, and how to do this |
|  | 5.3 Use feedback from others to consider own performance |
|  | 5.4 Work in partnership with management for personal development |

## Develop customer relationships

| Level: 2 |  |
| --- | --- |
| Credit Value: 6 |  |
| Learning Outcome | Assessment Criteria |
| 1. build their customer’s confidence that the service they give will be excellent | 1.1 show that they behave assertively and professionally with customers |
|  | 1.2 allocate the time they take to deal with their customer following organisational guidelines |
|  | 1.3 reassure their customer that they are doing everything possible to keep the service promises made by the organisation |
| 2. meet the expectations of their customers | 2.1 recognise when there may be a conflict between their customer’s expectations and your organisation’s service offer |
|  | 2.2 balance their customer’s expectations with their organisation’s service offer by offering an alternative or explaining the limits of the service offer |
|  | 2.3 work effectively with others to resolve any difficulties in meeting their customer’s expectations |
| 3. develop the long-term relationship between their customer and their organisation | 3.1 give additional help and information to their customer in response to customer questions and comments about their organisation’s services or products |
|  | 3.2 discuss expectations with their customer and explain how these compare with their organisation’s services or products |
|  | 3.3 advise others of feedback received from their customer |
|  | 3.4 identify new ways of helping customers based on the feedback customers have given them |
|  | 3.5 identify added value that their organisation could offer to long-term customers |
| 4. know how to develop customer relationships | 4.1 describe their organisation’s services or products |
|  | 4.2 explain the importance of customer retention |
|  | 4.3 explain how their own behaviour affects the behaviour of the customer |
|  | 4.4 describe how to defuse potentially stressful situations |
|  | 4.5 describe how to defuse potentially stressful situations |
|  | 4.6 identify the limitations of their organisation’s service offer |
|  | 4.7 compare how customer expectations may change as the customer deals with their organisation |
|  | 4.8 identify the cost and resource implications of an extension of the service offer to meet or exceed customer expectations |
|  | 4.9 explain the cost implications of bringing in new customers as opposed to retaining existing customers |
|  | 4.10 identify who to refer to when considering any variation to their organisation’s service offer |

## Control the use of resources in a Property, Caretaking & Facilities Services environment

| Level: 2 |  |
| --- | --- |
| Credit Value: 3 |  |
| Learning Outcome | Assessment Criteria |
| 1. Understand how to use and manage resources safely | 1.1 List the health and safety requirements regarding the preparation and use of resources, and the possible consequences of failing to comply with these requirements |
|  | 1.2 State the approved procedures for maintaining resource levels, and their importance |
|  | 1.3 Explain how the nature and characteristics of different types of resources affect the way in which they are handled and stored |
|  | 1.4 Explain why it is important that resources are stored correctly |
|  | 1.5 List the types of personal protective clothing to wear for different types of resources |
|  | 1.6 State the purposes for which different types of resources are needed in the job role |
|  | 1.7 List which resources require authorisation for use, and the possible consequences of using them without authorisation |
| 2. Prepare and use resources according to instructions | 2.1 Wear personal protective clothing when necessary |
|  | 2.2 Identify the type and amount of resources needed for own work |
|  | 2.3 Ensure you have the competence to use the resources necessary for own work |
|  | 2.4 Monitor the quantity of resources at appropriate intervals |
|  | 2.5 Prepare and use resources for their approved purpose, in accordance with health and safety principles and the requirements of the organisation |
|  | 2.6 Keep records of resources issued from storage and of waste disposal |
|  | 2.7 Maintain resources in line with workplace procedures |
|  | 2.8 Store resources securely and in the appropriate place |
| 3. Understand how to conserve and dispose of resources | 3.1 State how to monitor resource levels, why and when it is appropriate to do so |
|  | 3.2 State why it is important to keep accurate records of resources issued, and the appropriate format for doing so |
|  | 3.3 Describe how to maximise the use of resources and reduce wastage |
|  | 3.4 Describe how to record wastage and waste transfer and why this is important |
|  | 3.5 Identify how and where waste should be disposed of |
|  | 3.6 State the benefits of routine maintenance of resources, and where manufacturers’ instructions can be found |
|  | 3.7 State why it is important to return unused and reusable resources to the appropriate place/s, and where these are |
|  | 3.8 Describe how and where unwanted resources should be disposed of |
| 4. Conserve or dispose of resources where appropriate | 4.1 Minimise the wastage of resources |
|  | 4.2 Carry out routine maintenance of resources in accordance with manufacturers’ instructions |
|  | 4.3 Dispose of unwanted resources in line with organisational procedures and manufacturers’ instructions |
|  | 4.4 Return unused and reusable resources to the appropriate places promptly |

## Maintain grounds of premises and facilities

| Level: 2 |  |
| --- | --- |
| Credit Value: 3 |  |
| Learning Outcome | Assessment Criteria |
| 1. Know how to carry out maintenance, and the appropriate conditions for doing so | 1.1 State the required personal protective equipment and why it is important to wear it |
|  | 1.2 State the tools and equipment available for use, and which are the most appropriate for the work |
|  | 1.3 Explain why it is important to carry out maintenance only when the ground conditions and weather are suitable, and what these conditions are |
| 2. Carry out maintenance according to given instructions | 2.1 Choose the personal protective equipment, hand tools and equipment which are most suitable for the task |
|  | 2.2 Carry out maintenance when the weather and ground conditions are suitable and at the appropriate times |
|  | 2.3 Minimise damage and degradation to the area when maintaining grounds |
| 3. Understand how to remove debris and litter from the area, and why this is important | 3.1 Give examples of debris and litter that may need to be removed from grounds |
|  | 3.2 State why it is important to correctly identify the nature of debris and litter, and the appropriate methods for disposing of these different types of refuse |
|  | 3.3 State how and where unwanted debris and litter should be disposed of, and to whom queries regarding their safe disposal should be directed |
|  | 3.4 State the requirements regarding the segregation of waste for disposal and recycling, why these must be adhered to, and the possible consequences of not doing so |
|  | 3.5 List the collection points to which waste containers must be transferred |
| 4. Remove any unwanted debris and litter as instructed | 4.1 Identify the nature of any unwanted debris or litter |
|  | 4.2 Using the appropriate methods, clear any unwanted debris from the area, and dispose in accordance with safe practice |
|  | 4.3 Report any hazardous items or problems affecting the maintenance of the area to the relevant person, |
|  | 4.4 Seek advice regarding the removal and disposal of hazardous items |
|  | 4.5 Make sure completed work areas meet the requirements of the work specification |

## Maintain site security and safety

| Level: 2 |  |
| --- | --- |
| Credit Value: 3 |  |
| Learning Outcome | Assessment Criteria |
| 1. Understand the principles of site security and safety | 1.1 Describe the equipment checks and personal safety precautions which must be taken, and the consequences of not doing so |
|  | 1.2 Give examples of the types of security breach which could occur |
|  | 1.3 State the person(s) to whom any security breach should be reported, and the consequences of not doing so |
|  | 1.4 Describe the limits of own competence and responsibility for rectifying security breaches, and how to rectify them |
|  | 1.5 State the organisation’s requirements and own personal instructions for security monitoring, and why it is important that these are followed correctly |
|  | 1.6 Describe why it is important to keep accurate records, what the records should contain and where they should be stored |
|  | 1.7 Identify the other people involved in maintaining site security and why it is important to liaise with them |
| 2. Carry out site security monitoring according to instructions | 2.1 Follow instructions for carrying out security monitoring |
|  | 2.2 Take all necessary precautions to minimise risk to self and others during security monitoring |
|  | 2.3 Liaise with others involved when maintaining site security |
|  | 2.4 Identify breaches of security |
|  | 2.5 Report any breaches of security to the appropriate person |
| 3. Understand how to monitor security systems | 3.1 Describe the checks which must be carried out on security and emergency equipment, and the regularity with which this must be done |
|  | 3.2 Describe how to recognise malfunctions and/or damage to the equipment |
|  | 3.3 Identify the person to whom equipment malfunctions should be reported, and the possible consequences of failing to do this |
| 4. Carry out the appropriate checks on security and emergency equipment | 4.1 Carry out the necessary checks on security and emergency equipment according to manufacturers’ instructions and legislative requirements |
|  | 4.2 Promptly report any equipment malfunction |
|  | 4.3 Take action to address security and safety issues, within the limits of own competence and responsibility |
|  | 4.4 Keep accurate records of the outcomes of safety and security monitoring, and store them appropriately |

## Control the use of premises and facilities

| Level: 2 |  |
| --- | --- |
| Credit Value: 4 |  |
| Learning Outcome | Assessment Criteria |
| 1. Understand the importance of user needs and requirements when using premises and facilities | 1.1 Explain the importance of confirming customer requirements for the use of premises and facilities |
|  | 1.2 Describe the factors to take into account when checking the availability and suitability of premises and facilities |
|  | 1.3 State the limits of own competence and responsibility in responding to customer needs and requests |
|  | 1.4 Give examples of customers’ needs during their use of the premises and facilities |
|  | 1.5 Describe users’ requirements for servicing the premises and facilities during their use |
| 2. Find out customer requirements and prepare the premises and facilities accordingly | 2.1 Confirm user requirements for the use of the premises and facilities |
|  | 2.2 Confirm that the required premises and facilities are available and suitable for their intended use |
|  | 2.3 Prepare the premises and facilities according to instructions |
| 3. Know how to comply with health and safety regulations during contractor/customer visits | 3.1 Outline the approved procedures when organising access, security and health and safety arrangements |
|  | 3.2 List the approvals required for different types of contractor activities |
|  | 3.3 State the importance of checking that approvals have been granted by the appropriate person/s |
|  | 3.4 Give examples of the types of problems which can arise during the customer’s use of the premises and facilities |
|  | 3.5 Describe the procedures to deal with such problems during the customers’ use of premises and facilities |
|  | 3.6 Describe the relevant emergency procedures for the premises and facilities |
|  | 3.7 Describe the checks to ensure premises and facilities are left safe and secure after use |
|  | 3.8 List the types of records to be kept |
| 4. Know how to monitor the use of premises and facilities by contractors | 4.1 State the appropriate access points and access arrangements for contractors |
|  | 4.2 List own instructions for monitoring contractor activities, and the possible consequences of not adhering to them |
|  | 4.3 Outline the expected standards of contractor attendance, conduct and adherence to site health and safety legislation |
|  | 4.4 State the importance of giving accurate feedback to management on the outcomes of the monitoring |
| 5. Enable the use of premises and facilities by contractors according to instructions | 5.1 Check with the appropriate person/s that approval has been granted for contractor activity |
|  | 5.2 Check access, security and health and safety arrangements in accordance with approved procedures |
|  | 5.3 Provide information to contractors and customers on emergency procedures and exit points |
|  | 5.4 Provide access to premises and facilities for approved contractors according to instructions |
|  | 5.5 Follow specialist procedures for allowing access to premises and facilities |
| 6. Monitor the use of premises and facilities by contractors according to instructions | 6.1 Monitor contractor activities in accordance with instructions |
|  | 6.2 Follow approved procedures to respond to problems with contractor use of premises and facilities |
|  | 6.3 Ensure that premises and facilities are left safe and secure after use |
|  | 6.4 Complete records of the premises and facilities use and pass them on to the appropriate person |
|  | 6.5 Provide feedback to management on the outcomes of monitoring |

## Work safely at heights

| Level: 2 |  |
| --- | --- |
| Credit Value: 3 |  |
| Learning Outcome | Assessment Criteria |
| 1. Understand how to carry out work safely at heights | 1.1 Describe how personal activities and behavior in the workplace can contribute to the health and safety of self and others |
|  | 1.2 Describe individual responsibilities relating to maintaining safe work practices |
|  | 1.3 Describe procedures when working at heights and how these link to health and safety legislation |
|  | 1.4 Describe the risks associated with working at heights especially when carrying and handling objects |
|  | 1.5 Describe how risks associated with working at heights can be controlled |
|  | 1.6 Describe precautions which should be taken to minimise risks associated with working at heights |
|  | 1.7 Describe organisational requirements for preparing for and working at heights |
|  | 1.8 Describe organisational requirements for using, cleaning and storing: - Height access equipment - Personal protective equipment |
|  | 1.9 Describe how to operate fall protection equipment |
| 2. Be able to carry out work safely at heights | 2.1 Carry out the work following an agreed plan |
|  | 2.2 Assess the risks taking into account the potential dangers of: - Falling - Dropping tools and debris - Stability of ladders - The working area - Overhead cables - Equipment - Other people in the vicinity |
|  | 2.3 Take precautions to address identified risks |
|  | 2.4 Check that personal protective equipment is functioning properly |
|  | 2.5 Select and wear appropriate personal protective equipment including, where relevant, full body harness |
|  | 2.6 Check that safety barriers are in place around the working area |
|  | 2.7 Check that there is a permit to work, where required, before working at heights |
|  | 2.8 Carry out all required pre-checks including ensuring that height access equipment is free from obvious defects before use |
|  | 2.9 Check that height access equipment is deployed and secure |
|  | 2.10 Maintain frequent communication with the appropriate person |
|  | 2.11 Leave work areas clean, tidy and free of obstructions |
|  | 2.12 Secure height access equipment and personal protective equipment in the correct storage area |

## Monitor and maintain electrical and plumbing services

| Level: 2 |  |
| --- | --- |
| Credit Value: 4 |  |
| Learning Outcome | Assessment Criteria |
| 1. Understand how to safely prepare to carry out plumbing and electrical maintenance | 1.1 State the type of maintenance or repair: • that is required and its extent, • is within own competence and responsibility |
|  | 1.2 Outline the safety regulations and approved codes of practice relevant to electrical and plumbing maintenance |
|  | 1.3 Explain why it is important to always adhere to safety regulations and codes of practice |
|  | 1.4 State the importance of wearing personal protective equipment |
|  | 1.5 Identify which tools and equipment are most appropriate for the task |
|  | 1.6 Describe the actions which must be taken to warn others of maintenance work |
|  | 1.7 Describe how to isolate equipment from the supply |
|  | 1.8 State why equipment must be isolated before maintenance is started |
|  | 1.9 State where to turn off the supply |
| 2. Safely prepare to carry out maintenance | 2.1 Choose tools, equipment and personal protective equipment appropriate to the task |
|  | 2.2 Explain why it is important to prevent faulty equipment from being used |
|  | 2.3 Before starting maintenance, isolate the equipment from the supply |
|  | 2.4 Warn others of the work being carried out and the potential impact on premises and facilities |
| 3. Know how to carry out basic electrical and plumbing maintenance | 3.1 Describe how to remove faulty components |
|  | 3.2 State the consequences of failing to dispose of faulty components correctly |
|  | 3.3 Explain why it is important to use the correct replacement parts |
|  | 3.4 Describe the appropriate methods for removing damaged parts and fitting replacement component parts |
|  | 3.5 Give examples of necessary adjustments and how to make them |
| 4. Carry out basic electrical and plumbing maintenance according to instructions | 4.1 Use approved safe working practices throughout the task |
|  | 4.2 Remove faulty components and dispose of them appropriately |
|  | 4.3 Remove damaged parts and fit replacement parts or components |
|  | 4.4 Connect the appropriate fittings and components according to procedures and manufacturer’s instructions |
|  | 4.5 Make any necessary adjustments and reassemble the equipment following maintenance |
|  | 4.6 Report to the appropriate person any maintenance that cannot be completed |
|  | 4.7 Reconnect the supply according to procedures |
| 5. Understand how to carry out post-maintenance checks | 5.1 State the procedures for reconnecting supply |
|  | 5.2 Describe how to check that equipment is working properly following maintenance |
|  | 5.3 Explain why it is important to leave equipment clean and safe to use |
| 6. Carry out the necessary post-maintenance checks | 6.1 Check equipment is working correctly following maintenance |
|  | 6.2 Return tools and equipment to the appropriate area in a condition ready for their next use |

## Carry out maintenance and minor repairs

| Level: 2 |  |
| --- | --- |
| Credit Value: 3 |  |
| Learning Outcome | Assessment Criteria |
| 1. Understand how to prepare to carry out maintenance and minor repairs | 1.1 State the type and amount of maintenance and repair work that is required |
|  | 1.2 Describe how environmental and other site conditions can influence how work is carried out |
|  | 1.3 State which tools and equipment are appropriate for the task |
|  | 1.4 Describe the importance of carrying out preparatory work before carrying out repairs |
|  | 1.5 Describe the importance of protecting the surrounding area |
|  | 1.6 State methods which can be used to protect the surrounding area |
| 2. Understand how to carry out maintenance and minor repairs | 2.1 Describe safe, approved working practices for carrying out the work |
|  | 2.2 Describe how to make sure that the surrounding areas are maintained during maintenance and repair |
|  | 2.3 Describe the importance of retaining the items to be replaced |
|  | 2.4 Describe how to check that items that have been repaired function correctly and why this should be done |
|  | 2.5 Describe the organisational requirements for reporting and maintenance and repair work that they are not competent to carry out |
|  | 2.6 Describe methods of cleaning tools and equipment |
|  | 2.7 State the importance of cleaning tools and equipment after use |
|  | 2.8 State where tools, equipment and un-used materials should be stored |
| 3. Be able to prepare to carry out maintenance and minor repairs | 3.1 Identify the items that need maintenance and the repair work required |
|  | 3.2 Assess that environmental and other site conditions are suitable to be able to carry out maintenance and repairs |
|  | 3.3 Select the hand tools and equipment that are the most appropriate for the task |
|  | 3.4 Protect the immediate surrounding areas throughout the preparations and the work |
|  | 3.5 Apply the appropriate method for repairing damaged areas or surfaces for repair |
| 4. Be able to carry out maintenance and minor repairs | 4.1 Use safe and approved working practices and techniques |
|  | 4.2 Isolate and electrical supplies |
|  | 4.3 Ensure that there are no adverse effects to the finished items or appearance of the surrounding areas |
|  | 4.4 Check that the replacement items function correctly and operate safely |
|  | 4.5 Check that the working and surrounding areas match following maintenance and repair work |
|  | 4.6 Report any maintenance or repair work that they are not competent to carry out |
|  | 4.7 Report any cleaning requirements that cannot be carried out |
|  | 4.8 Clean tools and equipment after use |
|  | 4.9 Secure tools, equipment and used materials in the correct storage area |

## Operate plant to maintain the quality of pool water

| Level: 2 |  |
| --- | --- |
| Credit Value: 4 |  |
| Learning Outcome | Assessment Criteria |
| 1. Know how to operate plant to maintain the quality of pool water | 1.1 Describe the manufacturer’s instructions and the normal operating procedures for the plant |
|  | 1.2 Identify the chemicals commonly used in pool plant |
|  | 1.3 For each chemical, identify: • its effect • the hazards associated with it • the control measures that must be put in place to ensure safe use |
|  | 1.4 Outline the emergency action plan for the plant |
|  | 1.5 Identify the records concerning the operation of the plant which need to be kept up to date |
|  | 1.6 Outline how to complete the necessary records |
|  | 1.7 Identify who is the responsible colleague to give records to, and report equipment needing repair to |
|  | 1.8 Outline the basic requirements of the Health and Safety at Work Act and COSHH regulations as they apply to the operation of plant |
| 2. Know how to start up and shut down plant | 2.1 Describe the importance of following instructions for the operation of the plant |
|  | 2.2 Describe how to set the systems in preparation for start up and shut down |
|  | 2.3 Describe how to begin start up and shut down sequences |
|  | 2.4 Describe how to monitor the plant operation during start up and shut down |
|  | 2.5 Outline how to take corrective action when the normal operating procedures are not met during start up and shut down |
|  | 2.6 Identify the faults and alarms which may occur during start up and shut down |
| 3. Be able to start up and shut down plant | 3.1 Make sure the systems are correctly set for start-up and shut-down |
|  | 3.2 Begin the start-up and shut-down sequences following the manufacturer’s instructions |
|  | 3.3 Monitor the systems for faults and alarms |
|  | 3.4 Take the correct action to deal with any faults and alarms promptly and according to guidelines |
|  | 3.5 Follow the emergency action plan in the event of any emergencies |
|  | 3.6 Complete all the necessary records accurately and legibly |
|  | 3.7 Make records available to the responsible colleague when required |
|  | 3.8 Ensure plant operates within the recommended parameters and standards laid down by the manufacturer or installer and in accordance with nationally accepted guidelines |
|  | 3.9 Follow all relevant legislation and other safety requirements at all times |
| 4. Know how to maintain plant in working order | 4.1 Describe the importance of maintaining plant in good working order |
|  | 4.2 Outline the basic principles of: • filtration • disinfection • circulation • storage • boilers and heating equipment • associated measuring and control equipment |
|  | 4.3 State the requirements of the maintenance schedule and log sheets |
|  | 4.4 Identify: • normal rates of energy use • normal rates of energy flow • normal levels of pressure • normal temperature |
|  | 4.5 Outline how to carry out the routine tests and maintenance required |
|  | 4.6 Outline how to calculate, monitor and record energy and water usage figures |
|  | 4.7 Outline how to identify items needing repair |
|  | 4.8 Outline what to do when items needing repair are found |
|  | 4.9 Outline how to identify when the plant is not running properly |
|  | 4.10 Outline how to test alarms |
| 5. Be able to maintain plant in working order | 5.1 Carry out regular tests, visual and audible checks and routine maintenance according to the prescribed maintenance schedule and log sheet requirements |
|  | 5.2 Identify any items which need repair and report these to the responsible colleague |
|  | 5.3 Take the appropriate action when the normal operating procedures are not being met |
|  | 5.4 Log and report energy and water usage figures, taking appropriate action to deal with wasteful losses and leaks to maintain the efficiency and safety of the plant |
|  | 5.5 Monitor the alarms and respond to them following normal operating procedures and the emergency action plan |
|  | 5.6 Complete all the necessary records |
|  | 5.7 Make records available to the responsible colleague when required |
|  | 5.8 Follow all relevant legislation and meet recommended operating conditions at all times |
| 6. Know how to ensure the quality of water | 6.1 State the importance of maintaining the quality and temperature of the water |
|  | 6.2 Outline the basic principles involved in maintaining water quality |
|  | 6.3 Identify the tests and checks which need to be carried out in order to monitor the quality and temperature of the water |
|  | 6.4 Describe how to carry out tests and checks on the quality and temperature of the water |
|  | 6.5 Describe the remedial actions required for a range of chemical contaminants and biological releases into the pool |
|  | 6.6 Describe the importance of uncontaminated test equipment |
|  | 6.7 Describe how to ensure test equipment is not contaminated |
|  | 6.8 Outline the water temperatures which are appropriate for a range of different activities |
|  | 6.9 Describe the types of corrective action to take when water quality and temperature do not meet standards |
| 7. Be able to ensure the quality of water | 7.1 Carry out the regular tests, monitoring and sensory inspections according to prescribed water test procedures |
|  | 7.2 Check the water clarity to ensure it remains in optimum condition |
|  | 7.3 Pay careful and ongoing attention to the alarms which monitor water quality |
|  | 7.4 Make sure that test equipment is free from contamination |
|  | 7.5 Take water samples in a way that conforms to normal operating procedures |
|  | 7.6 Take corrective action when normal operating procedures are not being met and in response to bacteriological test results including: • faecal • diarrhoeal • vomit • blood • microbiological |
|  | 7.7 Complete all the necessary records accurately and legibly |
|  | 7.8 Make records available to the responsible colleague when required |
|  | 7.9 Follow all relevant legislation and other safety requirements at all times |

## Deal with routine waste

| Level: 2 |  |
| --- | --- |
| Credit Value: 3 |  |
| Learning Outcome | Assessment Criteria |
| 1. Understand how to handle routine waste | 1.1 Describe the procedures and methods for preparing self and the work area |
|  | 1.2 List different types of personal protective equipment |
|  | 1.3 Describe the importance of wearing personal protective equipment and for others to see it being worn |
|  | 1.4 Describe the importance of maintaining personal hygiene when handling routine waste |
|  | 1.5 State the organisational requirements for handling and disposing of routine waste |
|  | 1.6 State the correct equipment for handling and disposing of routine waste |
|  | 1.7 State the arrangements for recycling in the workplace |
|  | 1.8 Describe the approved methods for transferring waste |
|  | 1.9 Describe the organisational requirements for reporting and handling waste spillages |
| 2. Understand how to handle hazardous and suspicious items | 2.1 State the importance of checking with the appropriate person before removing hazardous items |
|  | 2.2 Explain the organisational requirements for dealing with suspicious itemS |
| 3. Understand how to deal with waste containers | 3.1 Describe why the location and cleaning of waste areas is important in preventing and controlling pests |
|  | 3.2 Describe the organisational requirements for dealing with waste containers that are damaged |
|  | 3.3 State the standards of cleanliness required for holding areas, empty holding and collection bins |
|  | 3.4 State who is responsible for cleaning holding areas, empty holding and collection bins |
|  | 3.5 State the location of waste holding areas |
|  | 3.6 Describe methods of taking waste to the holding area safely |
|  | 3.7 Describe the organisational requirements for reporting: • dangerous equipment • faulty equipment • danger of disease |
| 4. Be able to handle routine waste safely | 4.1 Prepare self and the work area to do the task efficiently, correctly and safely |
|  | 4.2 Select and wear appropriate personal protective equipment for the task |
|  | 4.3 Identify the location of the waste holding areas |
|  | 4.4 Identify different categories of waste and deal with them appropriately |
|  | 4.5 Check that waste bags or receptacles are secure before handling |
|  | 4.6 Identify waste to be collected and transferred to a collection point |
|  | 4.7 Ensure that sacks and receptacles are not damaged during handling |
|  | 4.8 Ensure the safety of self and others when handling sacks and receptacles |
|  | 4.9 Check that sacks and receptacles are not damaged once they have been moved |
|  | 4.10 Take appropriate action if a sack or receptacle is damaged |
|  | 4.11 Apply organisational requirements on the safe removal of waste spillages |
| 5. Be able to deal with waste containers | 5.1 Follow organisational requirements to cut down the risk of contaminating surrounding areas |
|  | 5.2 Follow organisational requirements for reporting signs of pest infestation |
|  | 5.3 Clean waste containers |
|  | 5.4 Replace waste containers or bin liners |
|  | 5.5 Report any faulty or damaged equipment |
|  | 5.6 Secure cleaning equipment, machinery and waste containers to the correct storage area |
|  | 5.7 Follow organisational requirements for the removal, cleaning and disposal of used personal protective equipment |

## Deal with non-routine waste

| Level: 2 |  |
| --- | --- |
| Credit Value: 3 |  |
| Learning Outcome | Assessment Criteria |
| 1. Understand how to handle and label non-routine waste | 1.1 Describe the procedures and methods for preparing self and the work area |
|  | 1.2 List different types of personal protective equipment |
|  | 1.3 Describe the importance of wearing personal protective equipment and for others to see it being worn |
|  | 1.4 Describe the importance of maintaining personal hygiene when handling non-routine waste |
|  | 1.5 Explain ways to mark, label and record waste and its movement |
|  | 1.6 Explain the importance of marking, labeling and recording waste and its movement correctly |
|  | 1.7 Identify equipment required to dispose of sharps safely |
|  | 1.8 Explain the procedures for disposing of sharps safely |
|  | 1.9 Describe methods for handling and disposing of clinical waste |
|  | 1.10 Describe safe procedures for segregating and sorting waste for recycling |
| 2. Understand how to handle suspicious items | 2.1 State ways to identify suspicious items |
|  | 2.2 Explain the organisational requirements for dealing with suspicious items |
|  | 2.3 State the importance of checking with the appropriate person before removing unidentified items |
| 3. Understand how to transfer non-routine waste and deal with containers | 3.1 Describe procedures for transferring waste |
|  | 3.2 Describe the methods used to ensure safe carriage of collected waste to the holding areas |
|  | 3.3 Describe the organisational requirements for dealing with sanitation bins |
|  | 3.4 Describe ways to identify problem and hazardous waste |
|  | 3.5 Describe why the location and cleaning of waste areas is important in preventing and controlling pests |
|  | 3.6 Describe the importance of repackaging waste containers that have dangerous residue on the outside |
|  | 3.7 Describe the organisational requirements for reporting and handling waste spillages |
|  | 3.8 State the standards of cleanliness required for holding areas, empty holding and collection bins |
| 4. Be able to handle and label non-routine waste safely | 4.1 Prepare self and the work area to do the task efficiently, correctly and safely |
|  | 4.2 Select and wear appropriate personal protective equipment |
|  | 4.3 Identify the location of the waste holding areas |
|  | 4.4 Check that seals on storage containers are securely sealed before handling |
|  | 4.5 Check that seals on storage containers are unbroken after moving |
|  | 4.6 Identify waste to be collected and transferred to a collection point and follow correct handling procedures |
|  | 4.7 Identify the waste material for collection and segregate or sort before disposal to collection point |
|  | 4.8 Mark the origin of waste clearly |
|  | 4.9 Label and record movement of waste |
|  | 4.10 Ensure the safety of self and others when handling sacks and receptacles |
|  | 4.11 Use the handles provided to move rigid containers |
|  | 4.12 Identify sharps that require special handling and use the pick-up kit or specific box for their disposal |
|  | 4.13 Check with the appropriate person before removing unidentified items |
| 5. Be able to transfer non-routine waste and deal with containers | 5.1 Ensure that containers of waste materials are taken safely to the right place and secured if necessary |
|  | 5.2 Follow organisational requirements to cut down the risk of contaminating surrounding areas |
|  | 5.3 Follow organisational requirements for reporting: - Signs of pest infestation - Faulty/broken equipment |
|  | 5.4 Clean waste containers following organisational requirements |
|  | 5.5 Replace bin liners and set up fresh containers |
|  | 5.6 Leave clean containers in the correct place and in a condition which is fit for use |
|  | 5.7 Apply organisational requirements on the safe removal of waste spillages |
|  | 5.8 Leave holding areas clean when finished |
|  | 5.9 Secure cleaning equipment, machinery and waste containers to the correct storage area |
|  | 5.10 Follow procedures for removal, cleaning and disposal of used personal protective equipment |

## Deep clean equipment in premises and facilities

| Level: 2 |  |
| --- | --- |
| Credit Value: 6 |  |
| Learning Outcome | Assessment Criteria |
| 1. Understand how to prepare for deep clean equipment and surfaces | 1.1explain the importance of having an up to date cleaning specification and where it can be found |
|  | 1.2 state the importance of maintaining standards of personal hygiene when cleaning |
|  | 1.3state the importance of removing personal items prior to cleaning and where they should be stored |
|  | 1.4state the importance of wearing appropriate personal protective equipment and for others to see it being worn |
|  | 1.5describe the best methods and materials for carrying out deep cleaning identifying possible alternatives |
|  | 1.6explain how to check that the equipment and surface is suitable for the treatment |
|  | 1.7explain how to check that the equipment and surface is suitable for the treatment |
|  | 1.8explain the importance of reporting damaged and deteriorating surfaces |
|  | 1.9explain the importance of reporting damaged and deteriorating surfaces |
|  | 1.10explain the importance of reporting immediately any concerns about the deep clean |
|  | 1.11state how to ventilate the work area |
|  | 1.12state additional customer or manufacturer’s standards that may need to be applied to the work surface and equipment |
| 2. Understand how to deep clean equipment and surfaces | 2.1 describe why there are checks and restrictions in place for the use of deep cleaning equipment |
|  | 2.2describe how to check that equipment is in safe working order |
|  | 2.3state the organisational requirements for reporting problems with equipment |
|  | 2.4state the importance of removing superficial dust and debris |
|  | 2.5describe how to soften ground-in soil and stains |
|  | 2.6state the importance of softening ground in soiling |
|  | 2.7explain how to select the most appropriate place to carry out test cleans |
|  | 2.8explain why test cleans should be carried out before applying treatments |
|  | 2.9explain why treatments should be applied evenly |
|  | 2.10state when equipment and surfaces should be pre-treated |
|  | 2.11state how long the treatment should take to work |
|  | 2.12state where to find manufacturer’s instructions for • disassembling and re-assembling equipment • applying treatments • operating equipment |
|  | 2.13state why it is important to follow manufacturer’s and organisational requirements |
| 3. Understand how to restore the deep clean area | 3.1 describe what to look for when checking the cleaned area and equipment |
|  | 3.2state what treatments require rinsing |
|  | 3.3describe why and how rinsing of treatments should be carried out |
|  | 3.4state the organisational requirements for reporting soiling or stains that cannot be removed |
|  | 3.5state factors which might mean another treatment is required |
|  | 3.6describe the importance of putting items back to their original place after cleaning |
|  | 3.7describe how to check for pest infestation |
|  | 3.8state the organisational requirements for reporting pest infestations |
|  | 3.9state why it is important to check that equipment is working properly |
|  | 3.10explain the procedures for the disposal of used and unused treatments and why this is important |
|  | 3.11state the importance of cleaning equipment after use |
|  | 3.12state where cleaning treatments, equipment and machinery should be stored |
|  | 3.13describe the importance of cleaning and checking personal protective equipment after use |
|  | 3.14state the organisational requirements for storing and disposing of personal protective equipment |
| 4. Be able to prepare to deep clean equipment and surfaces | 4.1 locate the relevant cleaning specification and describe what is required to do the task |
|  | 4.2remove personal items and store them correctly |
|  | 4.3select and wear appropriate personal protective equipment for the task |
|  | 4.4select the appropriate equipment and materials for each cleaning task taking into account surface and type of soiling |
|  | 4.5check that the equipment is serviceable |
|  | 4.6check that the surface and equipment is suitable for the planned treatment |
|  | 4.7report damaged equipment and surfaces which are deteriorating |
|  | 4.8contact the appropriate person for advice on • soiling • surfaces that could be damaged by cleaning • health risks of using a substance |
|  | 4.9check the work area for factors which may affect the clean |
|  | 4.10ensure that power supplies are isolated and protected during cleaning |
|  | 4.11ventilate the work area |
|  | 4.12check for authorisation to use any deep cleaning equipment prior to use |
|  | 4.13check whether there are any additional requirements from the customer regarding the deep clean |
|  | 4.14report any reasons for not using the specified equipment |
| 5. Be able to undertake deep cleaning of equipment and surfaces | 5.1 remove superficial dust and debris before starting the deep clean |
|  | 5.2soften ground-in soil and stains before trying to remove them |
|  | 5.3conduct a test clean in an area where marks are least likely to be noticed |
|  | 5.4follow manufacturer’s instructions when disassembling equipment |
|  | 5.5apply the treatment safely, evenly and methodically following manufacturer’s instructions and without over-wetting or damaging the surface |
|  | 5.6ensure that absorbent patches are pre-treated and that stubborn and ingrained stains are given concentrated treatment |
|  | 5.7protect furniture and equipment in areas where a wet treatment is being used |
|  | 5.8follow the manufacturer’s and organisational requirements in the safe use and disassembly of machinery and equipment |
|  | 5.9ensure safety of self and others throughout the cleaning process |
| 6. Be able to restore the work area for use | 6.1 check the cleaned surface for an even appearance |
|  | 6.2ensure the surface is left free from dirt and excess moisture |
|  | 6.3rinse treated surfaces if necessary without disturbing the surrounding area |
|  | 6.4apply protective coatings and treatments if necessary |
|  | 6.5reinstate the work area |
|  | 6.6check that no residues remain on furniture and equipment |
|  | 6.7check for and report any signs of pest infestation |
|  | 6.8check that equipment with moving parts is working after the deep clean |
|  | 6.9report any defects and damage caused during cleaning |
|  | 6.10dispose of used and un-used solutions according to manufacturer’s instructions |
|  | 6.11clean the equipment after use |
|  | 6.12store cleaning agents and treatments in a safe and secure place |
|  | 6.13store the equipment after use |